## Sheet1
Fragpipe v.15.0

MSFragger v.3.2
Peak Matching
Precursor mass tolerance	PPM, -20 – 20
Fragment mass tolerance	PPM, 20
Calibration and Optimization	Mass calibration, parameter optimization
Isotope error	0/1/2
Data type	DDA

Protein Digestion
Load rules	stricttrypsin
Enzyme name	stricttrypsin
Cut after	KR
But not before
Cleavages	ENZYMATIC
Missed cleavages	2, Clip N-term M
Peptide length 7	50
Peptide mass range	500-5000

Modifications
Variable modification	M, [^, nQnC, nE
Max variable mods on a peptide	3
Max combinations	5000
Fixed modifications	C-term Peptide, N-term Peptide, C-term Protein, N-term Protein, G (glycine), A (alanine), S (serine), P (proline), V (valine), T (threonine), C (cysteine), L (leucine), I (isoleucine), N (asparagine), D (aspartic acid), Q (glutamine), K (lysine), E (glutamic acid), M (methionine), H (histidine), F (phenylalanine), R (arginine), Y (tyrosine), W (tryptophan), B, I, O, U, X, Z

Advanced options
Mass offsets	0
Restrict delta mass to	all
Glyco/Labile mods
Labile Modification Search mode	off
Diagnostic Ion Minimum intensity
Y ion Masses
Diagnostic Fragment masses

Spectral Processing
Precursor mass mode	selected
Min peaks	15
Use top N peaks	300
Min ratio	0
Clear m/z range	0-0
Remove precursor peak	Dop